## Slide 1: Equipment
Things you might see at a jobsite

## Slide 2
Duct bank
Switchboard
Switchgear
Panelboard
Distribution Board
Circuit Breaker
Notes: In this section we will go through some of the equipment you may commonly find on a medium to large commercial or industrial project.
We discussed in part 2 of the class how energy is generated and transmitted. Once the power is transformed down to a more manageable voltage at a substation, it is sent to the distribution network that feeds the various buildings and facilities we are all familiar with. For homes the power is transformed down once again on the street, a single transformer serving multiple homes on a street. As mentioned in the previous lesson, residential power is primarily 110V. For larger commercial and industrial users, the power is brought in at a higher voltage from the utility, then distributed at the building level as part of the project.